|  | HSA MEDICAL DEVICES BRANCH | MDRR3 FORM Last revised 1 October 2018 |
| --- | --- | --- |
|  | MEDICAL DEVICE POST-MARKET INFORMATION REPORT |  |
| Instructions This form may take you 30 minutes to fill in. You will need to prepare certain information to fill in the form. This form serves as the prescribed form for reporting of information related to product defects under the Health Products (Medical Devices) Regulations 2010. This form serves concurrently as a general post-market information report form. This form is to be submitted to the Medical Devices Branch as a scanned signed copy in pdf version via email to hsa_medical_device@hsa.gov.sg. Ensure email size (inclusive of all attachments) is under 2MB. If the space provided in the form is insufficient, please provide the information as an attachment. (Applicable to FSCA reporting only) Please be advised that any Field Safety Notices (FSN) issued by you may be published as-is on the HSA website. You are required to take full responsibility for the information contained in the FSN and must indemnify HSA for all losses, claims, demands, liabilities, caused of actions, expenses of any kind arising from HSA’s publication of the FSN. |
| Type of Report | Initial Report Follow-up Report (Medical Devices Branch Ref.No: ) |
| Particulars of Submitter of Information |
| Name of company submitting information |  |
| Company address |  |
| Contact person particulars (Name, Email and Tel No.) |  |
| Job title |  |
| Device Details |
| Device Name |  |
| Device intended use |  |
| Device Regulatory Status (e.g. SMDR Listing No. if device is registered) |  |
| Model No. |  |
| Catalogue No. |  |
| Serial No. |  |
| Lot/Batch No. |  |
| Accessories/Associated Devices affected (if any) |  |
| Product owner Name |  |
| Product owner Address |  |
| Manufacturer(s) and contact details |  |
| Importer(s) and contact details |  |
| Wholesaler(s) and contact details |  |
| Registrant and contact details (if device is registered) |  |
| Medical Devices Post-Market Information |
| Type of Post-Market Information | Field Safety Corrective Action (FSCA) Medical Device Complaint Report Product Defect other than FSCA Others (Details: ) |
| FSCA information (where applicable) |
| Have the medical devices affected by the FSCA been manufactured, or supplied in Singapore? | Yes No *If yes, please report using the MDRR1 report form instead. |
| A copy of the FSCA communication (as an attachment) |  |
| Date of commencement of FSCA by product owner (dd/mm/yyyy) |  |
| Local Tel No. (for publication on HSA website) |  | Local Fax No. |  |
| Local Email Address (for publication on HSA website) |  |
| Medical Device Product Defect or Complaint Information (where applicable) |
| Description of Product Defect or Complaint |  |
| Date company became aware of Product Defect or Complaint (dd/mm/yyyy) |  |
| Details of product owner’s investigation into product defect or complaint |  |
| Course of Action/ Remedial/ Corrective/ Preventive action |  |
| Other Information |

I attest that the information submitted is true and accurate, and that I am authorized to submit this form on behalf of the company.

Prior to any future supply of devices corrected of this FSCA, I will verify if a change notification (CN) submission through MEDICs is required. If MEDICs CN submission is required, new supply of devices corrected of this FSCA shall not proceed unless prior approval from HSA has been received.

I declare that any new supply of devices corrected of this FSCA shall not be defective and shall conform to the Essentials Principles of the GN-16: Guidance on Essential Principles for Safety and Performance of Medical Devices, and any other applicable regulatory requirements.

Signature			:

Name of Reporting Person		:

Date of this notification		:        (dd/mm/yyyy)

##### Guidance on how to fill this form

When should this form be completed and submitted to the Medical Device Branch?

This Report Form is to be submitted when post-market information (e.g. product defect, complaints, etc) on medical devices has been requested by the Authority.

For information on when to report a Field Safety Corrective Action (FSCA) using a MDRR3 reporting form, please refer to GN-10 Guidance on Medical Device Field Safety Corrective Action.

General guidelines

Please answer every question with an appropriate answer, N/A (not applicable) or N/K (not known at this time). If some of the applicable information required in this form is not available by the time the deadline for the particular category of report has expired, a report should be submitted containing all the available information.

A statement as to why any required information is not available and a date when it will be submitted must be included.

The form may be filled longhand or electronically using Word® - simply <tab> to the appropriate field and type the required information.

The following provides some guidance on what information is required in some parts of the form. It is envisaged that the fields not mentioned in this explanatory note are self-explanatory.

###### Device Details

Please specify:-

- Device Regulatory Status: Indicate the regulatory approval numbers that apply to all devices affected by the FSCA, i.e.. SMDR Listing No., Transition List No., Special Authorisation Route Licence No. If device has been exempted from product registration, indicate the basis for exemption, e.g. class A non-sterile MD.

- SMDR Listing No.: The number assigned to the device in the Singapore Medical Device Register (SMDR).

- Wholesaler(s) and contact details: A wholesaler is a person who supplies the medical device by wholesale in Singapore. Please refer to the Health Products Act for the full definition of wholesale. Wholesalers will include distributors.

##### Medical Device Post-Market Information

Please specify:-

# A copy of the FSCA communication: This refers to any communication issued by the company to notify its consignees about the FSCA. Consignee means anyone who has received, purchased or used the product being recalled or corrected. This can include the Field Safety Notice (FSN) or the Dear Healthcare Professional Letter (DHCPL).

- For further information related to FSCA, please refer to GN-10 Guidance on FSCA.

- Remedial Action/Corrective Action/Preventive Action: Includes information on actions taken to correct the problem, including any post-market surveillance, recalls, or corrective or preventive actions and the design and manufacture of the device. This should also include the rationale for performing the corrective action. This section only applies for final reports. If no corrective action is to be taken, a rationale needs to be provided here.

- For further information related to medical device complaint handling, please refer to GN-07 Guidance on Complaint Handling of Medical Devices.